HOW TO GUIDE

Elemental analysis - Liquid samples

Submission information Monday; Friday. 10:00 - 11:00; 10:00 - 11:00. - Request forms should be sent via email as a word document to alab.chemeng@uct.ac.za, preferably before 10:00 - The request form must be submitted before the samples. - When submitting liquid sample/s it is recommended to use plastic containers and to ensure that it is sealed correctly to avoid any cross contamination. Minimum volume No. of elements for analysis; Minimum vol. required (ml). 1; 10. 2; 15. 3-5; 30. >5; 50. Elements highlighted can be analysed on ICP-OES and MP-AES* H; He. Li; Be; B; C; N; O; F; Ne. Na; Mg; Al; Si; P; S; Cl; Ar. K; Ca; Sc; Ti; V; Cr; Mn; Fe; Co; Ni; Cu; Zn; Ga; Ge; As; Se; Br; Kr. Rb; Sr; Y; Zr; Nb; Mo; Tc; Ru; Rh; Pd; Ag; Cd; In; Sn; Sb; Te; I; Xe. Cs; Ba; La; Hf; Ta; W; Re; Os; Ir; Pt; Au; Hg; Tl; Pb; Bi; Po; At; Rn. Fr; Ra; Ac; Rf; Db; Sg; Bh; Hs; Mt; Ds; Rg; Cn; Uut; Fl; Uup; Lv; Uus; Uuo. Ce; Pr; Nd; Pm; Sm; Eu; Gd; Tb; Dy; Ho; Er; Tm; Yb; Lu. Th; Pa; U; Np; Pu; Am; Cm; Bk; Cf; Es; Fm; Md; No; Lr. *If you require analysis of element/s that is/are not highlighted, please speak to us before sending the form Estimated turnaround time for analysis Turnaround option; Estimated time; Max number per week. Normal1; 2–3 weeks; N/A. Fast track2; 5–7 working days; N/A. ASAP3; - working days; 5 samples with 1 – 3 elements. - Normal turnaround is often shorter than 2 – 3 weeks. It accounts for a queue and/or method development for new samples. A large batch of samples (>15) submitted may take longer than 2 – 3 weeks. A request with more than 12 elements may take longer than 2-3 weeks. - Recommended for samples that we have analysed previously. A large batch of samples submitted might take longer than 5 – 7 working days. A request with more than 12 elements may take longer than 5-7 working days. - ASAP turnaround is only recommended for similar samples that we have analysed previously, ie should have an established working method already.

| SECTION A: TO BE COMPLETED BY CUSTOMER |  |
| --- | --- |
| Customer Details |  |
| Name and Surname: | Cell No: |
| Research group: | Department: |
| Supervisor name: |  |
| Cost Centre: | Fund number: |
| Date request form submitted: | Date sample/s submitted: |

| Instrument and sample information |  |  |
| --- | --- | --- |
| Instrument, indicate with X |  |
| ICP-OES | MP-AES |

| Sample Information |  |  |  |
| --- | --- | --- | --- |
| Type of sample – Indicate with X Mine water; Water; Brines; leachates; Precursor solutions; Ore. If other, please specify: | Does your sample contain?; Acid; Base. If so, please specify the type of acid or base and its concentration: |
| Does it contain organic solvent?; Yes; No. If yes, please specify: | Room temp; Fridge. Storage condition - Indicate with X |
| Sample declaration- Indicate with X |  | YES | NO |
| Is there any safety information we need to know about the sample/s? |  |  |  |
| Have you declared all the information about your sample/s? |  |  |  |

| Turnaround option and Sample information |  |  |  |  |
| --- | --- | --- | --- | --- |
| Number of samples | Number of elements to be analyzed | Indicate turnaround option with X |  |  |
|  |  | Normal | Fast Track | Supervisor approval for Fast Track |

| Analysis Information |  |
| --- | --- |
| Please specify which elements to be analyzed: Element; Conc. (ppm); Element; Conc. (ppm). What other elements are in your samples that are not for analysis? | Are elements different for each sample? (Indicate with X) Yes; No. If yes, please specify in the table below: Sample Name; Elements. |
| How do you wish for us to report your results (Indicate with X)? ppm; ppb; mg/L; µg/L. |

| SECTION B: TO BE COMPLETED BY ANALYST/S |  |
| --- | --- |
| Start and Completion of Analysis |  |
| Analysis request number: RN2026-L |  |
| Request number assigned by: |  |
| Analyst/s assigned to task: |  |
| Date sample/s submitted: | Date analysis started: |
| Date request form submitted: | Date analysis completed: |
| Date request number sent: | Date report /results sent: |

Notes on Sample Preparation and Analysis

File Name/s: Sample preparation: Minimum dilution (Indicate with X). Yes; No. If yes, what is the minimum dilution factor? Reason:. TDS; Precipitation; Volume; Other. If other, please specify. Interferences:. Element; Wavelength(nm); Interferant; Wavelength (nm). Sample difficulties/ observations: